Republic of Iraq

Ministry of Higher Education

and Scientific

Al-Mustaqbal University College

Chemical Engineering and Petroleum Industries Department

Subject: Heat Transfer Lab.

Third Class

Lecture two

THERMAL CONDUCTIVITY OF COMPOSITE WALLS :

2.1:objective:

- To determine total thermal resistance and thermal conductivity of a composite wall.

- To plot temperature gradient along composite wall structure.

2.2: Theoretical part:

Many engineering applications of practical utility involve heat transfer through a medium composed of two or more materials of different thermal conductivities arranged in series or parallel. Consider for example the walls of a refrigerator, hot cases, cold storage plants, hot water tanks etc., which always have some kind of insulating materials between the inner and the outer wall. A hot fluid flow inside the tube covered with a layer of thermal insulation is an example of composite system because in this case the thermal conductivities of tube metal insulation are different. The problem of heat transfer through the composite system can be solved by the application of thermal resistance concept.

When heat conduction takes place through two or more solid materials of different thermal conductivities, the temperature drop across each material depends on the resistance offered to heat conduction and the thermal conductivity of each material.

The total resistance through composite wall is given by:

∑Rth= R1 + R2 + R3 + …. =∆X1K1A1+∆X2K2A2+∆X3K3A3+…

Which gives a total heat flow (q) of

q = ∆Toverall∑Rth

The apparatus consists of three slabs of different materials namely Press Wood Plate, Bakelite Plate and Cast iron Plate. The heater is provided  to supply heat input across these composite walls. Total heater assembly comprises of  a heater bound between two aluminum plates, on both sides of these heater identical structures of composite walls are placed. Thermocouples are provided at proper position  in the composite walls  to record desired inside temperature of composite wall. Multi –channel temperature indicator is used to measure this temperature. Small hand press provided to press the wall on each other and ensure that no air gap remaining between two plates. Heat input to heater is given through a dimmer stat variac and measured by voltmeter and ammeter. By varying heat input and combination of the composite structures, wide range of experiment can be performed.

2.3:Apparatuous:

The apparatus shown in figure (2-1), uses known insulating material of large thickness to enable unidirectional heat flow. The apparatus is used mainly to study the resistance offered by different slab materials and to establish the heat flow similar to that of current flow in an electrical circuit.

Figure 2.1:The experimental apparatus

Composite slabs:

- Wall thickness:

- cast iron plat = 1cm,

- bakelite  plate =1.3cm,

- press wood plate=0.6cm.

- Slab diameter = 300mm

- Temperature Indicator : 0 - 300ºC

- Ammeter : 0 – 5A

- Voltmeter : 0 – 300V

2.4:Procedure:

- Arrange the plates in proper fashion (symmetrical) on both sides of the heater plates.

- Operate of the hand press properly to ensure perfect contact between the plates.

- Close the box by cover sheet to achieve steady environmental conditions.

- Switch on the supply heater.

- Give known steady input to the heater with the help of dimmer stat.

- Keep initially100V for 20 minutes almost and then reduce to 80V till steady state is reached so that steady state can be reached within less time.

- Check the input to the heater with selector switch, voltmeter and ammeter.

- Note down the temperature every 5 minutes till steady conditions is reached.

- Calculate the thermal resistance of the material based on the steady state condition readings.

2.5: Calculation:

| Test no. | V (volt) | I (ampere) | Q= V*I | T1 Ċ | T2 Ċ | T3 Ċ | T4 Ċ | T5 Ċ | T6 Ċ | T7 Ċ | T8 Ċ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |

(1) Rate of heat supply Q = V x I W (For calculating the thermal conductivity of composite walls, it is assumed that due to large diameter of the plates, heat flowing through the central portion is unidirectional i.e. axial flow. Thus for calculating central half diameter area where unidirectional flow is considered. Accordingly thermocouples are fixed at closed to center of the plates.)

A=(π/4)*d2

q = heat flux=(Q/A), (W/m2)

Mean reading:

TA=T4+T52

TB=T3+T62

TC=T2+T72

TD=T1+T82

(2)Total thermal resistance of composite slab:

Rtot = TA-TDq

(4)Thermal conductivity of indevidual materials:

KC.I=q*bTA-TB

Kbakelite=q*bTB-TC

Kwood=q*bTC-TD

press wood

backlite

cast iron

heater

cast iron

backlite

press wood

2.6:Question for discussion:

- How will you verify the temperature distribution in case of composite wall?

- Discuss the difference between the resistance of each slabs.