## Slide 1: Lab training Introduction to Clinical biochemistry
Lecture : 1
////Dr. Shaimaa Munther

## Slide 2: What is Clinical Biochemistry?
Clinical biochemistry
Clinical chemistry refers to the biochemical analysis of body fluids. It uses chemical reactions to determine the levels of various chemical compounds in bodily fluids.
Several simple chemical tests are used to detect and quantify different compounds in blood and urine, the most commonly tested specimens in clinical chemistry.

## Slide 3: The use of biochemical tests
Biochemical investigations are involved in every branch of clinical medicine. The results of biochemical tests may be of use in:
Diagnosis .
Screening for disease .
Assessing the prognosis.
Monitoring of treatment.
Research into the biochemical basis of disease
Clinical trials of new drugs
Notes: Biochemical investigations hold the key for the diagnosis and prognosis of diabetes mellitus, jaundice, myocardial infarction, gout, pancreatitis, rickets, cancers, acid-base imbalance etc. Successful medical practice is unimaginable without the service of clinical biochemistry laboratory.

## Slide 4: Techniques in clinical chemistry
Techniques such as spectrophotometry, immunoassays, and electrophoresis are also used in clinical chemistry to measure the concentration of substances such as glucose, lipids, enzymes, electrolytes, hormones, proteins, and other metabolic products present in human blood and urine.
Notes: Biochemical investigations hold the key for the diagnosis and prognosis of diabetes mellitus, jaundice, myocardial infarction, gout, pancreatitis, rickets, cancers, acid-base imbalance etc. Successful medical practice is unimaginable without the service of clinical biochemistry laboratory.

## Slide 5: Specimen collection
The biological fluids employed in the clinical biochemistry laboratory include blood, urine, saliva, sputum, feces, tissue and cells, cerebrospinal fluid, peritoneal fluid, synovial fluid, pleural fluid, stones.
Among these, blood (directly or in the form of plasma or serum) is frequently used for the investigations in the clinical biochemistry laboratory.

## Slide 6: Collection of blood
Venous blood is most commonly used for a majority of biochemical investigations. It can be drawn from any prominent vein (usually from a vein on the front of the elbow).
Capillary blood (< 0.2 ml) obtained from a finger or thumb, is less frequently employed.
Arterial blood (usually drawn under local anesthesia) is used for blood gas determinations.
Notes: Precautions for blood collection : Use of sterile (preferably disposable) needles and syringes, cleaning of patients skin, blood collection in clean and dry vials/tubes are some of the important precautions.

## Slide 7: blood specimens
One of three different specimens may
be used:
Whole blood
Serum
Plasma

## Slide 8: First: Whole-blood specimen:
It must be analyzed within limited time (why?)
  Over time, cells will lyse in whole-blood which will change the conc. of some analytes as potassium, phosphate and lactate dehydrogenase.
  Some cellular metabolic processes will continuo which will alter analytes conc. like glucose and lactate.

## Slide 9: First: Whole-blood specimen:
Whole blood : (when collected usually mixed with an anticoagulant)
Is used for the estimation of haemoglobin, carboxyhaemoglobin, pH, glucose, urea, non-protein nitrogen, pyruvate, lactate, ammonia etc.
Note : for glucose determination, plasma is preferred in recent years.

## Slide 10: Second : Serum specimen:
Serum:
is the supernatant fluid that can be collected after centrifuging the clotted blood.
It is the most frequently used specimen in the clinical biochemistry laboratory.
The parameters estimated in serum include proteins (albumin/globulins), creatinine, bilirubin, cholesterol, uric acid, electroylets, enzymes and vitamins.
Separator Gel
Serum
Clot

## Slide 11: Third :Plasma specimen:
Plasma :
obtained by centrifuging the whole blood collected with an anticoagulant
Plasma is employed for the parameters fibrinogen, glucose,bicarbonate, chloride, ascorbic acid etc.
Notes: The tube will have anti-coagulation
After centrifugation the blood sample got
separated into three layers

## Slide 12: Difference between Serum and plasma:
Serum is the same as plasma except it doesn't contain clotting factors (as fibrin).
Plasma contains all clotting factors.
So, serum and plasma all has the same contents of electrolytes, enzymes proteins, hormones except clotting factors.
Serum is mainly use in chemistry lab & serology.

## Slide 13: Hemolysis
Hemolysis :
It means liberation of hemoglobin due to rupture of RBCs.
Due to hemolysis plasma or serum appears pink to red color.
It causes elevation in: K+, Ca2+, phosphate, SGOT, SLDH and acid phosphatase.
Hemolysis is occurred due to sampling, transporting and storage (too hot or too cold).
Changes in the serum color indicate one of the following:
Hemolyzed: serum appears pink to red due to rupture of RBCs
Icteric: serum appears yellow due to high bilirubin.
Lipemic: serum appears milky or turbid due to high lipid.
Notes: According to the degree of hemolysis it is classified as H+, H++ and H+++. H+ may be accepted for some tests that are not affected by RBCs contents as glucose and lactate, H++ and H+++ not acceptable for any test.

## Slide 14: ANTICOAGULANTS used for blood sampling:
Disodium or dipotassium. Ethylene Diamine Tetra Acetic-Acid (EDTA):
EDTA is a powerful anticoagulant, used of choice for routine hematological work. EDTA acts by its chelating effect on the calcium molecules in blood. It removes calcium which is essential for coagulation.
2. Ammonium and potassium oxalate mixture:
Calcium is either precipitated as insoluble oxalate or bound in a nonionized form.

## Slide 15: ANTICOAGULANTS used for blood sampling:
3. Tri-sodium citrate:
Is the anticoagulant of choice in coagulation studies.
4. Heparin:
It neutralizes thrombin by inhibiting the interaction of several clotting factors in the presence of a plasma cofactor, antithrombin III.
Note : Sodium citrate or heparin can be used to render blood anticoagulable before transfusion.

## Slide 16: ANTICOAGULANTS used for blood sampling:
5. Acid-Citrate-Dextrose solution (ACD):
  This is the preferred anticoagulant used for blood transfusions, for preserving red cells, for enzyme studies, and for the study of hemolytic processes.

## Slide 18: Collection Tubes
The most widely used tubes for blood collection are evacuated tubes (Vacutainers)
  Negative pressure facilitates collection
  Easy to use
  Sterile
  Universally used colour-coded rubber stoppers to denote tube type.
  Tubes can contain various anticoagulants for the collection of whole blood or plasma.
  Tubes can have additives for specific tests (glucose, metals)

## Slide 19: Collection Tubes (Vacutainers)
Serum Separator Tube (SST)
Separator Gel
Separator Gel
Serum
Clot

## Slide 20: Blood collection tubes
Two major types of blood collecting tubes:
Serum separating tubes (SST)
Plasma separating tubes (PST)

## Slide 21
Top Tubes | Additives | Principle | Uses
Red | no anticoagulants or preservatives Sometimes it has gel or silicon at the bottom of tube to reduce hemolysis | Enhancing the formation of blood clot | Serology -Antibodies -Hormones -Drugs Virology Chemistry Blood cross matching before blood transfusion
Gold(and “tiger”) | No other additives are present It has gel at the bottom of the tube to separate serum from the blood | Serum separating from the blood through the gel in the tube | Serology Chemistry
SERUM Separating Tubes (SST)

## Slide 22
Top Color | Additives | Principle | Uses
Lavender | EDTA | -The strongest anti-coagulant Ca+2 chelating agent - To preserve blood cells components | Hematology Blood bank (ABO) HbA1C (Glycosylated Hb) Cannot be used for K or Ca tests
Light Blue | Sodium Citrate | Ca+2 chelating agent | PT: Prothrombin Time PTT: Partial Thromboplastin Time (Used for coagulation studies because it is easily reversible.)
Green | Sodium Heparin or Lithium Heparin | Heparin binds to Thrombin and inhibits the second step in the coagulation cascade (Prothrombin Thrombin) Fibrinogen Fibrin | Enzymes Hormones
Heparin
Plasma Separating Tubes (PST)
Ca
Notes: Green-top tubes contain either the Na, K, or lithium (Li) salt of heparin. Most widely used anticoagulant for chemistry tests.
  Should not be used for Na, K or Li measurement
  Can effect the size and integrity of cellular blood components and not recommended for hematology studies
Heparin accelerates the action of antithrombin III, which inhibits thrombin, so blood does not clot (plasma)
The advantage of plasma is that no time is wasted waiting for the specimen to clot
Lavender-top tubes contain the K salt of ethylenediaminetetraacetic acid (EDTA), which chelates calcium (essential for clot formation) and inhibits coagulation
Used for hematology, and some chemistries
Cannot be used for K or Ca tests

## Slide 23
Top Color | Additives | Principle | Uses
Gray | -Sodium Fluoride -Potassium Oxalate | Glycolysis inhibitor Anti-Coagulant | Glucose tests
Royal Blue | Heparin Na-EDTA | Anti-Coagulant Tube should not be contaminated with metals | Toxicology Trace Elements and metals
Yellow | ACD ( Acid-Citrate Dextrose) | Anti-Coagulant | DNA Studies HLA Tissue Typing (Human Leukocyte Antigen) The body used this protein to differentiate the self-cells from non-self cells
Plasma Separating Tubes (PST)
Notes: Used for Glucose measurement.
After blood collection, glucose concentration decreases significantly because of cellular metabolism
Gray-top tubes contain either:
  Sodium fluoride and potassium oxalate, or
  Sodium iodoacetate
Both preservatives stabilize glucose in plasma by inhibiting enzymes of the glycolytic pathway
  NaF/oxalate inhibits enolase while Iodoacetate inhibits glucose-3-phosphate dehydrogenase

## Slide 24: Tests in clinical chemistry
Electrolytes
  Sodium
  Potassium
  Chloride
  Bicarbonate
Liver Function Tests
  Total protein (serum)
  Albumin
  Globulins
  A/G ratio (albumin-globulin)
  Protein electrophoresis
  Bilirubin; direct; indirect; total
  Aspartate transaminase (AST)
  Alanine transaminase (ALT)
  Gamma-glutamyl transpeptidase (GGT)
  Alkaline phosphatase (ALP)
Renal (Kidney) Function Tests
  Creatinine
  Blood urea nitrogen
  Uric Acid
Cardiac markers
  Troponin
  Myoglobin
  CK-MB
  Natriuretic peptide (NTP)

## Slide 25: Tests in clinical chemistry
Minerals
  Calcium
  Magnesium
  Phosphate
  Zinc
  Copper
Blood Disorders& Vitamines
  Iron
  Transferrin
  TIBC
  Vitamin B12
  Vitamin D
  Folic acid
Miscellaneous
  Glucose
  C-reactive protein
  Glycated hemoglobin (HbA1c)
  Arterial blood gases ([H+], PCO2, PO2)
  Hormonal analysis
  Adrenocorticotropic hormone (ACTH)
  Toxicological screening and forensic toxicology (drugs and toxins)
  Neuron-specific enolase (NSE)
  fecal occult blood test (FOBT)

## Slide 26: Panel tests
A set of commonly ordered tests are combined into a panel:
Basic metabolic panel (BMP) - 8 tests - sodium, potassium, chloride, bicarbonate, blood urea nitrogen (BUN), creatinine, glucose, calcium
Comprehensive metabolic panel (CMP) - 14 tests - above BMP plus total protein, albumin, alkaline phosphatase (ALP), alanine amino transferase (ALT), aspartate amino transferase (AST), bilirubin