_                                                                                                             Lecture two:  Anticoagulants used in hematology laboratory

Anticoagulants : are the Chemical substances that prevent the blood from clotting when mixed with inappropriate concentration with the Blood Specimen.  They are commonly called blood thinner.

Anticoagulant materials in the laboratory Uses:

- Used in certain concentration per each ml of blood.

-They used for obtain plasma.

-Its uses only in vitro (outside of the body).

-They are toxic

Common Anticoagulant Materials

The common anticoagulant materials, which used in the daily lab’s work for hematological purposes, some are the following:

- EDTA= (Ethtylene diamine tetra-acetic acid)

- Sodium Citrate: (Na3C6H507.2H20)

- Buffered citrate (sodium citrate and citric acid)

- oxalate

- Sodium Fluoride

- Heparin And Wintroub

VARIOUS TYPES OF ANTICOAGULANTS WITH VACUTAINER COLOR CODES

1. EDTA – ETHYLENE DIAMMINE TETRAACETIC ACID

Mechanism of action of EDTA : It is widely used chemical anticoagulant in the laboratory. This anticoagulant removes free calcium ions, which is essential for coagulation by chelating them .

### Advantages of EDTA

- It gives better preservation of  the cellular morphology of blood cells .

- It can be used for platelets counting as it inhibits the clumping of platelets.

### Disadvantages of EDTA:

- Not used for coagulation studies because it destroys factor V and VIII.(as it chalets calcium)

- the excess amount of EDTA in blood can cause shrinkage of RBCs & WBCs, the decrease (PCV) , Increase in MCHC (Mean Cell Hemoglobin Concentration).

- platelet adherence to Neutrophils.

- Platelet aggregation

Uses of EDTA

- Complete Blood Count (CBC)

- Blood film

- ESR by wintrobes method

- HbA1C test

2.TRI-SODIUM CITRATE

Sodium Citrate USES ( Advantages):

- Acts as both a diluent and an anticoagulant

- Coagulation studies –PT, TT and PTT

- ESR estimation by Westergren

### Sodium Citrate Disadvantages:

### Citrated blood cannot be used for Packed Cell Volume (PCV), Hemoglobin (Hb) Estimation, Total Leukocyte Count TLC, and Differential Leukocyte Count (DLC)  because citrate is used as a solution and it alters the concentration of blood.

## 3.OXALATES

### Oxalates – Mechanism of Action

### Uses of Double Oxalates (Advantages) :

- Double oxalate is preferred as it prevents the swelling effect of Ammonium oxalate & shrinking effect of Potassium oxalate on the RBCs.

- the Blood chemistry

- Packed cell volume (PCV),

- Erythrocyte Sedimentation Rate (ESR),

- Total Leukocyte Count (TLC),

- Specific gravity etc.

### Disadvantages of Oxalates :

- Oxalates not useful for making Peripheral Blood Smear?. Because not preserve morphology of the White Blood Cells (WBCs).

- Oxalates not used as a preservative in blood banks.? The Calcium Oxalate precipitate in the blood is harmful and  toxic agent

4. SODIUM FLUORIDE

### It is the anticoagulant of choice for the estimation of blood sugar and other biochemical tests.

- BIOLOGICAL / NATURAL ANTICOAGULANT – HEPARIN

- an excellent natural anticoagulant

- Prevents clotting by inactivating thrombin, thus preventing conversion of fibrinogen to fibrin.

Advantages  of heparin:

- It is a good anticoagulant and well preservers of   the morphology of the Red Blood Cells (RBCs).;

- The heparinized blood specimen is commonly used

- for Erythrocyte Sedimentation Rate (ESR),

- Packed Cell Volume (PCV),

- Osmotic Fragility Test,

- Immunophenotyping ,

- Red cell enzyme estimation

- and other Hematological tests

Dis advantages  of heparin:

Not recommended for cell counting?  because of its clumping effect on platelets leucocytes

## Frequently Asked Questions (FAQs)

### What are anticoagulants used for in routine laboratory tests?

Anticoagulants are used to prevent blood from clotting in laboratory samples, which can interfere with the accuracy of test results.

### What are the most commonly used anticoagulants in routine laboratory tests?

EDTA, sodium citrate, and heparin.

### What does EDTA stand for, and what type of tests is it used for?

EDTA stands for ethylenediaminetetraacetic acid, and it is used for collecting whole blood or plasma samples for hematology tests.

### What does sodium citrate do, and what tests is it used for?

Sodium citrate acts as an anticoagulant by binding to calcium ions in the blood, and it is used for coagulation tests such as (PT) and (aPTT).

### What is heparin, and what type of tests is it used for?

Heparin is an anticoagulant that works by inhibiting the action of thrombin, and it is used for collecting plasma samples for chemistry tests.

### Can different anticoagulants be used for the same test?

No, different anticoagulants should not be used interchangeably for the same test as they can affect the test results.

### Can anticoagulants affect the accuracy of laboratory test results?

Yes, using the wrong anticoagulant or improper handling of samples can affect the accuracy of laboratory test results.

### Can anticoagulants cause adverse effects in patients? Yes,  such as bleeding or hematoma at the site of blood collection.

### How long can samples collected in anticoagulants be stored? Samples collected in anticoagulants can be stored for a limited period of time, typically a few hours to a few days, depending on the type of anticoagulant and the test being performed.

### Can anticoagulants be reused?  No, anticoagulants should not be reused as they are designed for single-use only and can increase the risk of contamination and inaccurate test results.

### Can anticoagulants interfere with other medications or medical conditions?

Yes, some anticoagulants can interact with other medications or medical conditions, which is why it is important to inform the healthcare provider about any medications or medical conditions before blood collection.

### Can anticoagulants affect the color of the laboratory samples?

Yes, anticoagulants can affect the color of laboratory samples, such as turning plasma samples pink or lavender due to the presence of EDTA.

### Can anticoagulants be added to urine samples?

No, anticoagulants should not be added to urine samples as they can interfere with the test results.

### How can the risk of adverse effects from anticoagulants be minimized?

The risk of adverse effects from anticoagulants can be minimized by following proper blood collection procedures and monitoring the patient for any adverse reactions.