## Slide 1: Conduction in Sphere

## Slide 2: Conduction in Sphere

## Slide 3: Conduction in Spheres

## Slide 4: Conduction in Spheres

## Slide 5: Conduction in Spheres

## Slide 6: Examples
Example 10. A spherical tank is of a internal and external diameter (4m) and (4.04m)respectively. The tank material is stainless steel of thermal conductivity (16W/m). The tank contains iced water at () and located in a room of temperature (). The heat transfer coefficient in and out the sphere are (90W/) and (8W/)respectively. Determine the heat transfer rate to the iced water in the tank and the ice mass that melts at (). the latent heat for ice water melting is (333.7kJ/kg)

## Slide 7: Examples

## Slide 8: Examples

## Slide 9: Conduction in Multi Sphere

## Slide 10: Conduction in Multi Sphere

## Slide 11: Examples
Example 11. A sphere carrying steam at ()has an internal diameter of (2m). The spherical shell thickness is (0.075m). The thermal conductivity of the sphere material is (50W/C). The convective heat transfer coefficient on the inside is (1.1W/). The sphere is covered by two insulation layers, one of (5cm)thickness of thermal conductivity of (0.15W/) and the another (5cm) thickness and thermal conductivity of (0.475W/). The outside is exposed to air of temperature () with heat transfer coefficient of (18W/). Determine (a)The overall heat transfer coefficient based on the outer and inner area, (b) Heat transfer rate from the spherical wall, (c) also determine the temperature of the interface between the shell and insulation and between the two insulation layers.

## Slide 12: Examples

## Slide 13: Examples

## Slide 14: Examples

## Slide 15: Examples

## Slide 16: Critical Thickness of Insulation

## Slide 17: Critical thickness of insulation

## Slide 18: Critical Thickness of Insulation

## Slide 19: Critical thickness of insulation

## Slide 20: Examples
Example 12. Copper pipe carrying refrigerant at (-25oC)of (0.01m)radius is exposed to convection at (30W/) and air temperature of (). An insulation of thermal conductivity (0.6W/m). Find the critical radius of the insulation. Find also the heat transfer rate at different thickness of the insulation from (0.0cm) to (2.0cm) by (0.2cm) step. Draw the result of the relation between heat transfer and the insulation radius.

## Slide 21: Example

## Slide 22: Examples