## Slide 1: Conduction in a wall
Thermal Resistance Networks in Parallel. The concept of thermal resistance or the electric analogy is used to solve problems of heat transfer that involved multilayer or combined parallel and series arrangement. Such problems are often two or three dimensional, but the solution is approximated by assuming the heat transfer in one-dimension using the thermal resistance networks.

## Slide 2: Conduction in a wall

## Slide 3: Conducton in a wall

## Slide 4: Conduction in a wall
Example 6 A wall of (3m)high and (4m) wide consists a long (16cmx22cm)cross- section horizontal bricks of thermal conductivity (0.72W/C), separated by (3cm) thick plaster layer of thermal conductivity (0.21W/C). There are (2.5cm) thick plasters on the brick on each of its sides and (3cm) of rigid foam with thermal conductivity (0.026W/C) on the inner wall side as shown in Figure. 3. The temperatures at indoor and outdoor are (C) and (C), and the coefficients of convection heat transfer on inner and outer sides are (12W/) and (42W/). Determine heat transfer rate through the wall neglecting radiation by assuming it one-dimensional heat transfer .

## Slide 5: Conduction in a wall
Solution: a wall of brick of cross-section area of (16cmx22cm)with a layer of plaster on each side and rigid foam layer on the inner side the wall is exposed to convection heat transfer on the two sides. From Figure. we can determine the thermal resistance for each component in this composite wall.
Property: constant thermal conductivity
Assumption: steady state one- dimensional heat transfer, and no effect of radiation
Analysis: firstly we calculate the resistance of a pattern as shown in the Figure.

## Slide 6: Conduction in a wall

## Slide 7: Conduction in a wall

## Slide 8: Conduction in Cylinders
HEAT CONDUCTION IN CYLINDERS Let us consider a layer of long cylinder (long circular pipe) with inner and outer radii of ( and ) respectively. The length is L. Thermal conductivity of material, the cylindrical layer made of is k. The temperature of the two surfaces of the cylindrical layer are and . By considering that the thermal conductivity is constant and no heat generation, we have T(r) only. The Fourier's law of heat conduction can be expressed for heat flow through the cylindrical layer as expressed for heat flow through the cylindrical layer as
Where the heat transfer area is A=2rL at a radius r.
A is depending on r and thus it varies as r is changed in the heat transfer direction. By the variables separating in this eq. and integrating it from r= to r=
where T()= and T()=, gives

## Slide 9: Conduction in cylindrical wall

## Slide 10: Conduction in cylindrical wall

## Slide 11: Conduction in a cylindrical wall
Example 7 Cylindrical shell of inner diameter (0.2m) and outer diameter (0.4m). The thermal conductivity of shell material is (60W/C). The shell is exposed to heat convection on its both sides. The temperature inside and outside the shell are (C) and (C)respectively. The heat transfer coefficient on inside and outside the shell are (40W/) and (10W/). Determine the heat transfer through the shell for (1m) long.

## Slide 12: Examples
Solution: cylindrical shell exposed to convection on its two surfaces. =0.2m and =0.4m the temperature of fluids in and out the shell are =, =
Property: constant thermal conductivity k=60W/mC, constant heat transfer coefficient on the two sides of the shell are =40W/, and =10 W/.
Assumption: steady one dimensional heat transfer through the shell.
Analysis: to calculate the heat transfer through the cylindrical shell, we can find the thermal resistance as following.
Convection resistance inside the shell

## Slide 13: examples

## Slide 14: Conduction in a cylindrical wall

## Slide 15: Conduction in a cylindrical wall

## Slide 16: Examples
Example .8 Steam at (C) flows in a cast iron pipe (k=75W/). The inner and outer diameters of the pipe are (5cm) and (5.5cm)respectively. It is covered with glass wool insulation of (4cm) thick and thermal conductivity (0.05W/). Heat is transfer to the surrounding at () by free convection and radiation, with a coefficient of combined heat transfer to be (20W/). Taking the heat transfer coefficient inside the pipe to be (65W/). Determine the rate of heat loss from the steam per unit length of the pipe. Also determine the temperature at interface between the pipe and insulation and the inner and outer surfaces temperature.

## Slide 17: Examples
Solution: A steam pipe of cast iron covered with glass wool insulation is subjected with convection on inner surface and combined convection and radiation on the outer surface.
=5cm, =5.5cm, Insulation thickness t=4cm. =5.5+8=13.5cm
Property: the thermal conductivities of materials in this problem are constant and they are: =75W/, and =0.05W/. The coefficient of heat transfer inside the tube is: =65W/,
outside the insulation is: =20W/. =, =
Assumption: The heat transfer is steady state and one –dimensional
Analysis: from the data of the example, we can fined

## Slide 18: Examples

## Slide 19: Examples

## Slide 20: Examples

## Slide 21: Overall Heat Transfer Coefficient
Overall Heat Transfer Coefficient For Cylindrical Wall
The heat transfer equation for cylindrical wall can rewrite in the form of the overall heat
transfer coefficient as follows

## Slide 22: Over all Heat Transfer Coefficient

## Slide 23: Overall Heat Transfer Coefficient

## Slide 24: Examples
Example 9 Determine Uo , the overall heat transfer coefficient based on the outer surface for steel pipe of inner diameter (3.0cm) and outer diameter (3.7cm). thermal conductivity of steel that the pipe made of is (54.0W/). The inside and out side heat transfer coefficient of the pipe are (1000W/C) and (2000W/). if the temperature of inner fluid and outer fluid are () and (), calculate the heat transfer along one meter length and the temperature of inner and outer surface.

## Slide 25: Examples

## Slide 26: Examples

## Slide 27: Examples