## Slide 1: Heat Transfer by Extended Surfaces (Fins)
Proof. Dr. Majid H. Majeed

## Slide 2: Heat transfer from Extended Surfaces
The heat transfer by convection is increased by increasing the area that exposed to convection. This led to increase the area of heat transfer in some application that need high heat transfer rate. The increasing of the area of heat transfer is done by extending the surfaces that exposed to convection. This extended surfaces is called fines as shown in Figure

## Slide 3: Fins

## Slide 4: Fins

## Slide 5: Equation of Fin
Let us consider an element from a fin at x location with length x and sectional area and its perimeter of p as shown in Figure. The equation of energy balance for steady state condition of this element can be expressed as:

## Slide 6
Where
And
And

## Slide 7
By dividing this equation by kAdx, we get
By assuming and
And
The solution of this equation is

## Slide 8
(A)
Where C1 and C2 are integration constants of arbitrarily whose values are to be determined by the applying of the boundary conditions.
These boundary conditions are at the base and at the tip of the fin.
The only two conditions are to be needed to determine C1 and C2 which are uniquely.
B.C.1 is that temperature at the base of fin is known at its value is
Then

## Slide 9
By substituting in eq.(A) x=0 and
(1)
The second boundary depending on the free end of the fin. There are three cases for this end.
Case 1. the fin is very long that at x=
It means that at x=
Then (2)
From this equation then
By substituting this in eq.(1) we get

## Slide 10
(T.D.E) for long fin
(3)
1- long fin
Heat transfer from fin is equal to heat flow from its base by conduction

## Slide 11
Also heat transfer from fin is equal to heat
transfer by convection
from all the fin.
It equal to that transfer from the base so it is O.K.

## Slide 12
2- short Insulated end fin
in this case the fin is of known length and its end is insulated.
The boundary conditions are
B.C.1 is as in eq.(1) at x=0
B.C.2 is at x=L for insulated end.
The T.D.E is
Heat transfer from the fin is

## Slide 13
3- Short non insulated end fin
Fin with heat transfer by convection from its end.
B.C.1 is as in eq.1 at x=0 or
B.C.2 at x=L

## Slide 14
Fin efficiency
The efficiency of long fin is
Fin effectiveness

## Slide 15
And also we can find the flowing charts to find the efficiency of fin.
heat transfer from the fin

## Slide 16
Long Fin specifications
Specifications | Mathematic Relation
Boundary conditions | B.C.1 x=0 or B.C.2 x= or
T.D.E | or
Heat transfer | 
Fin efficiency ηf | 
Fin effectiveness f | 
Specifications | Mathematic Relation
Boundary conditions | 
T.D.E | 
Heat transfer | 
Fin efficiency ηf | 
Fin effectiveness f | 

## Slide 17
Insulated end fin
Specifications | Mathematic Relation
Boundary conditions | B.C.1 x=0 or B.C.2 x=L or
T.D.E | 
Heat transfer | 
Fin efficiency ηf | 
Fin effectiveness f | 
Specifications | Mathematic Relation
Boundary conditions | 
T.D.E | 
Heat transfer | 
Fin efficiency ηf | 
Fin effectiveness f | 

## Slide 18
Convection from end tip
Specifications | Mathematic Relation
Boundary conditions | B.C.1 x=0 or B.C.2 x=L or
T.D.E | 
Heat transfer | 
Fin efficiency ηf | 
Fin effectiveness f | 
Specifications | Mathematic Relation
Boundary conditions | 
T.D.E | 
Heat transfer | 
Fin efficiency ηf | 
Fin effectiveness f | 

## Slide 19
Example: A fin of material with thermal conductivity (100W/m). The length of the fin is 0.5m. The fin of square cross section of side length 0.1m. The base temperature of the fin is The surrounding temperature and convection heat transfer coefficient are 2 and 20W/Find the temperature Distribution equation and draw that with length of fin. Find the heat transfer and fin efficiency and effectiveness. By 1) assuming the fin of infinite length, 2) insulted end fin, 3) non-insulted fin.

## Slide 20
Solution: Fin of length L=0.5m, It is of square cross section of side length b=0.1m the P=4b=0.4m and A=
The base temperature
The surrounding temperature
The heat transfer coefficient
Thermal conductivity of fin material k=100W/m
Properties: The properties are constant.
Assumption: straight constant cross-sectional area fin with steady state heat conduction.
Analysis: for the fin, we can determined firstly m.

## Slide 21
1- Long Fin
The T.D.E
2- insulated fin
Convective end tip fin
T(3) | T(2) | T(1) | x
100 93.29 88.23 83.85 80.10 76.96 74.39 72.36 70.46 69.87 69.37 | 100 94.30 89.34 85.07 81.46 78.46 76.05 74.20 72.88 72.10 71.84 | 100 92.39 85.50 79.26 73.62 68.52 63.90 59.72 55.9 52.52 49.43 | 0 0.05 0.1 0.15 0.2 0.25 0.3 0.35 0.4 0.45 0.5

## Slide 22
The heat transfer from the fin
1) long Fin
2) insulated end tip fin
3) convective end fin

## Slide 23
Fin efficiency
1) long fin
2) insulated tip fin
3) convective end fin

## Slide 24
Fin effectiveness
1) long Fin
2) Insulated tip fin
15.23
3) convective end tip fin