## Slide 1: AL-Musatqabal University College of Pharmacy Second class Lab.(2)
Assist. Lec. Zaid Mohamed Hassan
Microscope

## Slide 3
Microscopes are instruments used in science laboratories to visualize very minute objects, such as cells and microorganisms, giving a contrasting image that is magnified.
Microscopes are made up of lenses for magnification, each with its magnification powers. Depending on the lens type, it will magnify the specimen according to its focal strength.
Their ability to function is because they have been constructed with special components that enable them to achieve high magnification levels. They can view very small specimens and distinguish their structural differences, for example, the view of animal and plant cells viewing microscopic bacterial cells.

## Slide 4
There are different types of microscopes like light microscopes, dark-field microscopes, phase contrast microscopes, electron microscopes, fluorescent microscopes, etc.
Microscopes are generally made up of structural parts for holding and supporting the microscope and its components and the optical parts that are used for magnification and viewing of the specimen images. Modern microscopes have additional electronics and display devices.

## Slide 5
How Does Microscope Work?
In a simple light microscope, a thin specimen containing a slide is placed on the microscope’s stage.
A beam of light is passed through the condenser to the specimen. The light transmitted from the specimen enters the objective lens. While passing through the objectives, the transmitted rays appear to come from the bigger objects.
The light is then focused on the eyepiece lens. This lens further magnifies the pre-magnified image coming from the objectives.
Finally, a highly magnified image can be observed.

## Slide 6
Purple one tube (lavender): this tube is generally used for hematology tests where whole blood is required for analysis.
This tube contains EDTA (ethylenediaminetetraacetic acid), which acts as a potent anticoagulant by binding to calcium in the blood.
Uses :
Full blood count
Erythrocyte sedimentation rate (ESR)
Blood film
HbA1c

## Slide 7
Blue tube: contains buffered sodium citrate which acts as a reversible anticoagulant by binding to calcium ions in blood.
Uses :
Bleeding time.
Prothrombin time (PT).
D- dimer for thrombosis (DVT, PE).

## Slide 8
The dark green tube;
This less commonly used bottle is for biochemistry, requiring heparinized plasma or whole blood for analysis.
this contains sodium heparin which acts as an anticoagulant.
Common tests;
Ammonia.
Insulin.
Renin and aldosterone

## Slide 9
Yellow tubes (clot activator tubes) used for various tests require separated serum for analysis including biochemistry, oncology, endocrinology, microbiology, and immunology.
Common tests:
Urea and electrolyte tests.
C-reactive protein (CRP).
Liver function tests.
Serum iron, ferritin.
Lipid profile.
Thyroid function tests.