HPLC

’’ High Performance Liquid Chromatography’’

Is a techniques in analytic chemistry used to separate the components in a mixture, in order to identify each component, and the quantify each component.

It stands for ’’ High Performance Liquid Chromatography’’

But could equally well stand for ‘’ High Pressure Liquid Chromatography’’.

It stands for ’’ High Performance Liquid Chromatography’’

But could equally well stand for ‘’ High Pressure Liquid Chromatography’’.

Why it is used?

It is used for separating mixtures either to analyze the mixture or to separate a required products from others in the mixture. It can also be used to find a relative amounts of different components in a mixture.

It works on the same principle as a paper chromatography by showing speeded up . A liquid called a mobile phase, moves pass the solid the stationary phase, which is usually composed of irregularly or spherically shaped particles, a porous monolithic layer, or a porous membrane by a liquid( mobile phase ) at high pressure .

Paper Chromatography

the solvent moves along the paper by Capillary action

The HPLC divided into two sub-classes based on the polarity of the mobile and the stationary phases . 1- When the polarity of Stationary phase > polarity of mobile phase called : Normal phase liquid Chromatography ( NPLC) Like ( toluene as a mobile phase and silica as a stationary phase .This type has fewer applications 2-When the opposite , polarity of Stationary phase < polarity of mobile phase called : reversed phase liquid chromatography (RPLC), this type Widely used upon (NPLC).For example : water –methanol mixture as a mobile phase and C18=octadecylsilyl as the stationary phase

The HPLC is used for example to separated mixture of two steroid used in pharmaceutical preparation , the column is packed with a nonpolar solid, the tails of the molecules represent hydrocarbon chains C8H17, after chosen the solvent, detector wavelength and the flow rate, a single sample is run by injected about 20 microliters into the injection port , then the more polar component comes off the column first , followed by less polar. The other ingredients which is used in the formulation of the product is also appeared with a peak of a retention time 1.5 minutes.