Chromatography is a physical method of separation in which the components to be separated are distributed between two phases

one of which is stationary (stationary phase) while the other (the mobile phase) moves through it in a definite direction.

The chromatographic process occurs due to differences in the distribution constant of the individual sample components.

Classification according to the packing of the stationary phase:

1- Thin layer chromatography (TLC): the stationary phase is a thin layer supported on glass, plastic or aluminium plates.

2- Paper chromatography (PC): the stationary phase is a thin film of liquid supported on an inert support.

3- Column chromatography (CC): stationary phase is packed in a glass column

Classification according to the force of separation:

1- Adsorption chromatography.

2- Partition chromatography.

3- Ion exchange chromatography.

4- Gel filtration chromatography.

5- Affinity chromatography

Thin layer chromatography (TLC)

is a method for identifying substances and testing the purity of compounds.

TLC is a useful technique because it is relatively quick and requires small quantities of material.

Development :

Several developing techniques can be applied in paper chromatography:

1-Ascending development :

2-Descending development :

3-Radial or horizontal development

4-Two dimentional development :

5-Multiple development :

Advantages of TLC over paper chromatography

1.small quantities are easily detected by TLC.

2.The spots are more compact & clear in TLC than paper chromatography.

3. We can use drastic reagent in TLC ex: concentrated H2SO4 in TLC but we can not use it on paper chromatography.