## Slide 1: CONDENSATION
Prof. Dr. Majid

## Slide 2
Condensation: The liquid film starts forming at the top of the plate and flows downward under the influence of gravity.
. The thickness of the film
increases in the flow
direction x because of
continued condensation at
the liquid–vapor interface
Heat released in condensation
Is equal to latent heat of
Evaporation (kJ/kg)

## Slide 3
The heat is transferred through the film to the plate surface at temperature . Note that must be below the saturation temperature of the vapor for condensation to occur.
Typical velocity and temperature profiles of the condensate are also given in Fig.1. Note that the velocity of the condensate at the wall is zero because of the “no-slip” condition and reaches a maximum at the liquid–vapor interface. The temperature of the condensate is at the interface and decreases gradually to at the wall.

## Slide 4
heat transfer in condensation also depends on whether the condensate flow is laminar or turbulent. Again the criterion for the flow regime is provided by the Reynolds number, which is defined as
(1)
Ac=p= wetted perimeter x film thickness, m2, cross-section area of the condensate flow at the lowest part of the flow
density of the liquid kg/m
= viscosity of the liquid, kg/m.sec
Vf=average velocity of the condensate at the lowest part of the flow, m/sec
=mass flow rate of the condensate at the lowest part, kg/sec. =4

## Slide 5
Rohsenow showed in 1956 that the cooling of the liquid below the saturation temperature can be accounted for by replacing by the modified latent heat of vaporization , defined as
(2)
The rate of heat transfer is expressed by
(3)
where A is the heat transfer area (the surface area on which condensation occurs). Solving for from the equation above and substituting it into Eq.(1) gives yet another relation for the Reynolds number
(4)

## Slide 6
Flow Regimes
It is observed that the outer surface of the liquid film remains smooth and wave-free for about Re 30. he flow is clearly laminar.
the condensate flow becomes fully turbulent at about Re
The condensate flow is called wavy-laminar in the range of 30< Re< 1800
turbulent for Re> 1800.

## Slide 7
Heat Transfer Correlations for Film Condensation
1- Vertical Plates
The analytical relation for the heat transfer coefficient in film condensation on a vertical plate described above was first developed by Nusselt in 1916 under the following simplifying assumptions:
1. Both the plate and the vapor are maintained at constant temperatures of and , respectively, and the temperature across the liquid film varies respectively.

## Slide 8
2. Heat transfer across the liquid film is by pure conduction (no convection currents in the liquid film).
3. The velocity of the vapor is low (or zero) so that it exerts no drag on the condensate (no viscous shear on the liquid–vapor interface).
4. The flow of the condensate is laminar and the properties of the liquid are constant.
5. The acceleration of the condensate layer is negligible.
The velocity in the film of condensate at any (y) vertical distance from the plate is
(5)

## Slide 9
The Mass flow rate at any distance x from the leading edge of the plate is
(6)
Where b is width of the plate
The derivative with respect to x is
(7)
And
(8)

## Slide 10
From Eq.(7) and Eq.(8) we get:
Integrating from x=0 where 0 (the top of the plate) to x=x where =(x), the liquid film thickness at any location x is determined to be
(9)
The heat transfer rate from the vapor to the plate at a location x can be expressed as

## Slide 11
Substituting this in Eq.(9) we get that
(10)
The average heat transfer coefficient
(11)
the average heat transfer coefficient for laminar film condensation over a vertical flat plate of height L is determined to be

## Slide 12
0<Re<30
And Reynolds number can be
Then the heat transfer coefficient in terms of Re becomes
(12)
For 0<Re<30 and

## Slide 13
For Wavy Laminar Flow ong Vertical Plates
= (13) For 30<Re<1800 and
where
Reynolds number for wavy laminar region
(14)
Turbulent Flow on Vertical Plates
Re>1800

## Slide 14
The physical properties of the condensate in all regions are evaluated at the film temperature = ()/2.
For inclined surface with horizontal with angle
The relations of the vertical plate are also used for vertical tube of d>>

## Slide 15
Horizontal Tubes and Spheres
(16)
Horizontal Tube Banks
(17)