## Slide 1
FILM CONDENSATION INSIDE HORIZONTAL TUBES
For low vapor velocity
For

## Slide 2
DROPWISE CONDENSATION
Dropwise condensation, characterized by countless droplets of varying diameters on the condensing surface instead of a continuous liquid film, is one of the most effective mechanisms of heat transfer, and extremely large heat transfer coefficients can be achieved with this mechanism.
for

## Slide 3
The Condensation Number
Because the film Reynolds number is so important in determining condensation behavior, it is convenient t o express the heat-transfer coefficient directly in terms of Re. We include the effect of inclination and write the heat-transfer equations in the form
(18)
where the constant is evaluated for a plate or cylindrical geometry. From the equation:
We now define a new dimensionless group, the condensation number Co, as
(19)

## Slide 4
For a vertical plate A/PL = 1.0, and we obtain, using the constant from Equation (1)
for
For a horizontal cylinder A/PL = π and
for
When turbulence is encountered in the film, an empirical correlation by Kirkbride may be used:
for

## Slide 5
Example 1- Saturated steam at 1atm condenses on a 3m-high and 5m-wide vertical plate that is maintained at 90°C by circulating cooling water through the other side. Determine (a) the rate of heat transfer by condensation to the plate, and (b) the rate at which the condensate drips off the plate at the bottom.
Solution: L=3m and w=5m for vertical plate Tw=90oC, Tsat=100oC at 1atm.
The properties: f=961.5kg/m3, v=0.5045kg.m3, hfg=2270kJ/kg, kf=0.677W/m.K, Cpf=4212J/kg.K, f=0.297x10-3kg/m.sec, Prf=1.85

## Slide 6
Requirements: a) The rate of heat transfer, b) the rate at which the condensate drips off the plate.
Analysis: at beginning we find modified hfg
Assuming wavy laminar flow then

## Slide 7
It between 30 and 1800 then
m2K.
Mass of condensate is
To calculate the condensation Number Co
for

## Slide 8
Example 2. Saturated steam at 30°C condenses on the outside of a 4cm-outer diameter, 2m-long vertical tube. The temperature of the tube is maintained at 20°C by the cooling water. Determine (a) the rate of heat transfer from the steam to the cooling water, (b) the rate of condensation of steam, and (c) the approximate thickness of the liquid film at the bottom of the tube.
Solution: Saturated steam at Tsat=30o condenses on tube(its outside) D=4cm L=2m Tw=20oC.

## Slide 9
Properties: properties of steam at Tf=25oC are f=997kg/m3 hfg=2442kJ/kg, Cpf=4180J/kg.K, kf=0.607W/m.K, f=0.891x10-3, Prf=6.14.
Requirements; a) rate of heat transfer, b) rate of steam condensation, c) the thickness of liquid film at bottom of the tube
Analysis: at the beginning, we shall determine the modified hfg*

## Slide 10
Assume, wavy-laminar flow then
Which is between 30 and 1800, and thus our assumption of wavy laminar flow is verified. Then the condensation heat transfer coefficient is determined to be
m2K

## Slide 11
Mass of condensate is /hr
The thickness of the film at the bottom is

## Slide 12
3- The tube bank of a steam condenser consists of a square array of 400 tubes, each of diameter D= 2r1=6mm. If horizontal, tubes are exposed to saturated steam at a temperature of 55oC and the tube surface is maintained at Tw=25oC, what is the rate at which steam is condensed per unit length of the tube bank?
Solution: tube bank of steam condenser consists of a square array of 400tubes, D=6mm. Tsat=55oC, Tw=25oC
Properties: the properties of saturated water at Tf=40oC

## Slide 13
f=992.1kg/m3, v=0.0512kg/m3, Cpf=4179J/kg.K, hfg=2407kJ/kg, kf=0.631W/m.K f=0.653x10-3kg/m.sec, Prf=1.03
Requirements: rate at which steam is condensed per unit length.
Analysis:
/m2.K

## Slide 14
/m2K
/m
Mass condensates per unit length is
/sec=21.34kg/min

## Slide 15
4- Saturated steam at 120oC condenses inside a horizontal, 75mm-diameter pipe whose surface is maintained at 100oC. Assuming low vapor velocities and film condensation, estimate the heat transfer coefficient and the condensation rate per unit length of the pipe.
Solution: Tsat=120oC, Tw=100oC, Di=0.075m
Properties: for water at Tf=110oC, f=950.6kg/m3, v=0.8263kg/m3, hfg=2230kJ/kg, Cpf=4.229kJ/kg.K, kf=0.682W/m.K, f=0.855x10-3kg/m.sec

## Slide 16
Requirement: mass of steam condensate per unit length of the tube
Analysis:
2.K
=34.56kg/hr