## Slide 1: (Convex and concave lenses)
Lenses are one of the most important optical tools used in many applications such as eyeglasses, microscopes, telescopes, cameras, etc., and lenses are divided into two main types: convex lenses and concave lenses.
Convex Lenses: A convex lens is a lens that is thick in the middle and thin at the edges, and works to collect the light rays falling on it, so it is known as the converging lens.
Characteristics of a convex lens:
1) It collects the parallel rays that fall on it at a point called the focus(F). 2) It has two real foci, one on each side of the lens. 3) Its focal length (f) is determined, which is the distance between the center of the lens and the focus.

## Slide 2: Group of convex lenses:
It collects the light falling on it at a specific point because it contains one or two convex surfaces and has three types as in Figure 2:-
1) Biconvex lens: It has two convex surfaces. 2) Plano-convex lens: has a convex surface and a flat surface. 3) Concave-convex lens (positive): has a convex surface and a concave surface.
Uses of convex lenses: 1) In eyeglasses to treat farsightedness (hyperopia). 2) In cameras to focus the image on the sensor. 3) In microscopes and telescopes to magnify images.

## Slide 3: Figure 2

## Slide 4: (Concave Lenses):
A concave lens is a lens that is thin in the middle and thick at the edges, and works to disperse light rays, so it is known as a diverging lens, as in Figure 3:-
Characteristics of a concave lens:
1) It disperses parallel rays that fall on it, so that they appear as if they are coming from a single point called the virtual focus.
2) It has two imaginary foci.
3) It does not form real images, but rather the images are always Imaginary, small, moderate
Uses of a concave lens:
1) In eyeglasses to treat myopia.
2) In optical binoculars to correct distortions.
3) In lasers to focus and control the spread of rays.

## Slide 5: Group of Concave Lenses:
It is a group of lenses that scatter the light falling on them because they contain one or two concave surfaces and have three types as shown in Figure 4:-
1) Biconcave lens: It has two concave surfaces.
2) Plano-concave lens: It has a concave surface and another plane.
3) Concave-convex lens (negative): It has a concave surface and another convex.
Conclusion:
Convex and concave lenses play a major role in optical applications, as convex lenses are used to collect light and form real images, while concave lenses are used to scatter light and form imaginary images. Understanding these lenses helps in designing optical devices and improving vision in various fields such as medicine, technology and scientific research.

## Slide 6: Figure 3 Figure4