Practical Immunology Lab : 7

AL-Mustaqbal University College of Medical Technology

Department of Medical Laboratory Technology Practical Immunology 2023

LAB  7

Stage 3rd

A.Lecture :

M.Sc Ruqaya kareem abass	M.Sc Zahraa Ahmed

Human Chorionic Gonadotropin (HCG) test

HCG test: is a classic example of agglutination used for early detected of the presence of HCG.

HCG is a glycoprotein hormone secreted by developing placenta shortly after fertilization and reaches detectable levels in urine and serum about 1 week after implantation attachment of the early embryo to the uterine lining.

HCG consists of two subunits, alpha and beta. The ß subunit is the most sensitive and specific test for early pregnancy.

- Latex agglutination test:

Is one of agglutination test, based on using synthetic particles called latex beads (polystyrene material); they act as carrier for soluble antigen in agglutination tests. Latex particles coated with monoclonal antibodies anti-HCG are agglutinated when mixed with specimen containing HCG.

Principle

The HCG-latex is a slide agglutination test for direct qualitative detection of HCG in urine and serum.

1

Reagents:

- Latex particles coated with monoclonal antibodies anti-HCG,

- Control positive (Red cap).

- Control negative (Blue cap).

Samples: Urine or fresh serum can be used.

Procedure

  - Place one drop of (urine or serum) sample (50µL) on to the reaction area of the slide using a disposable pipette.

  - Shake the latex reagent, then add one drop and mix using a stirrer.

  - Gently and evenly rock and rotate the test slide for 2 minutes and under direct strong light source examine the slide for agglutination.

A positive result is indicated by the obvious agglutination of the latex in clear solution

2. Pregnancy Strip Test:

The Pregnancy Test Strip is a rapid, one-step lateral flow immunoassay for the qualitative detection of HCG in urine/serum to detection of pregnancy women.

2

Principles:

the (HCG) present in urine or serum bind to anti-HCG on strip test and this binding give color product (positive result), but if this binding don’t give color (negative result)..

Procedure:

Collection and preparation of specimen:

- Urine: Firstly morning urine specimen should be collected in clean container.

- Serum: can be obtained by separated it from centrifuged of blood specimen.

Procedure:

- Remove test strip from its foil pouch.

- Carefully immerse strip vertically into (urine/serum) specimen.

- The strip left specimen when full absorbance.

- Interpret test results at 3-5 min. and do not interpret test results after 5 minutes.

Results Interpretations:

3

Clinical Implications:

- Positive result:	indicates pregnancy

- False-positive result:

-ectopic pregnancies

-ovarian cysts

-fertility drugs containing HCG

-prostate cancer, breast cancer and lung cancer

- Negative result: probably not pregnant.

- False-negative result:

-The test is past its expiration date.

-use the test the wrong way.

- tested too soon.

- the urine sample is too dilute

4