## Slide 1: Glucose analysis
Practical Clinical chemistry(3st.)
M.sc. Duaa falah
pharmacology and toxicology
2021

## Slide 2: Glucose Metabolism
Glucose is a primary source of energy for humans. The nervous system, including the brain, totally depends on glucose for energy.
The liver, pancreas, and other endocrine glands are all involved in controlling the blood glucose concentrations within a narrow range.
Glucose is a simple sugar (a monosaccharide). The body produces it from protein, fat and, in largest part, carbohydrate.
Ingested glucose is absorbed directly into the blood from the intestine and results in a rapid increase in blood glucose.

## Slide 3
Two Methods of Measuring Blood Glucose Level :
Reduction method, which is based on the ability of glucose to reduce Cu++ to Cu+ less sensitive, substances that could reduce Cu++ : fructose, galactose, vitamin C, uric acid, etc.
Enzymatic method (more specific and precise result) : Glucose is oxidized by glucose oxidase gluconic acid + H2O2  red dye

## Slide 4
Procedure:
Centrifuge 3 ml EDTA blood, 2000 rpm for 10 min.- The plasma will be separated from the blood cells. Use plasma for sample.
Pipette into each of the three reaction tubes according to the following table :

## Slide 5
Mix the content of each tube well, then incubate them at 37oC for 10 minutes .
Using cuvette tube, read the sample and standard absorbance against the blank at 500 nm.
Calculation: Calculate the concentration of BL in the provided fasting blood samples using the absorbance reading of standard glucose and applying the following equation:
Glucose (mg/dl) = (Abs. sample/Abs. standard)* standard conc. (100mg\dl) .
Normal Range :
Normal (fasting BSL = 70 – 110 mg/dl)

## Slide 6: HYPERGLYCEMIA
Hyperglycemia is an increase in plasma glucose levels.
In healthy patients, during a hyperglycemia state, insulin is secreted by the B cells of the pancreatic islets of Langerhans. Insulin enhances membrane permeability to cells in the liver, muscle, and adipose tissue.
Hyperglycemia, or increase plasma glucose levels, is caused by an imbalance of hormones.

## Slide 8: Diabetes Mellitus ( D.M.)
Diabetes mellitus is actually a group of metabolic diseases characterized by hyperglycemia resulting from Defects in insulin secretion, insulin action, or both.
Diabetes mellitus divided into two broad categories:
Type 1, insulin-dependent diabetes mellitus (IDDM);
Type 2, non–insulin-dependent diabetes mellitus (NIDDM).
The third is gestational diabetes

## Slide 9
Type 1 diabetes is characterized by inappropriate hyperglycemia, primarily a result of pancreatic islet B cell destruction and a tendency to ketoacidosis.
Type 2 diabetes in contrast, includes hyperglycemia cases that result from insulin resistance with an insulin secretory defect.
gestational diabetes mellitus Use of the term impaired glucose tolerance to indicate glucose tolerance values above normal but below diabetes levels for women who develop glucose intolerance during pregnancy.

## Slide 10: Type 1 diabetes mellitus
Type 1 constitutes only 10% to 20% of all cases of diabetes and commonly occurs in childhood and adolescence
Upper limit of 110 mg/dL on the fasting plasma glucose is designated as the upper limit of normal blood glucose.
Characteristics of type 1 diabetes include abrupt onset, insulin dependence, and ketosis tendency. This diabetic type is genetically related.

## Slide 11: Signs and symptoms
Signs and symptoms include :
polydipsia (excessive thirst)
polyphagia (increased food intake)
polyuria (excessive urine production)
Rapid weight loss, hyperventilation, mental confusion, and possible loss of consciousness.
Complications: include:
microvascular problems such as nephropathy , neuropathy, and retinopathy.
Increased heart disease is also found in patients with diabetes.
Notes: Idiopathic type 1 diabetes is a form of type 1 diabetes that has no known etiology, is strongly inherited, and does not have B cell autoimmunity. Individuals with this form of diabetes have episodic requirements for insulin replacement.

## Slide 12: Type 2 diabetes mellitus
Characteristics usually include adult onset of the disease and milder symptoms than in type 1, with ketoacidosis seldom occurring.
However, these patients are more likely to go into a hyperosmolar coma and are at an increased risk of developing macrovascular and microvascular complications.

## Slide 13: Gestational diabetes mellitus (GDM)
Defined as diabetes mellitus that develops during pregnancy
GDM associated with increased incidence of neonatal morbidity, including hypocalcemia, hypoglycemia, perinatal complications associated with maternal hyperglycemia
GDM mothers are at increased risk of developing diabetes (incidence of 60% by 15 years after parturition)
Screening is recommended to be performed between 24 and 28 weeks on all women not previously identified as having glucose intolerance
  a. 50 grams oral glucose given in the morning after 8-14 hr fast
  b. Measure plasma glucose at 1 hour post dose
  c. If abnormal (>140 mg/dl) then OGTT indicated with 100 gram oral
  glucose load on different day
Notes: Gestational diabetes GDM is “any degree of glucose intolerance with onset or first recognition during pregnancy.” Glucosuria can also occur after the renal tubular transporter system for glucose becomes saturated. This happens when the glucose concentration of plasma exceeds roughly 180 mg/dL in an individual with normal renal function and urine output.
As hepatic glucose overproduction continues, the plasma glucose concentration reaches a plateau around 300 to 500 mg/dL (17–28 mmol/L). Provided renal output is maintained, glucose excretion will match the overproduction causing the plateau.
Causes of GDM include metabolic and hormonal changes.
Patients with GDM frequently return to normal postpartum. However, this disease is associated with increased complications and an increased risk for development of diabetes in later years.
Infants born to mothers with diabetes are at increased risk for respiratory distress syndrome, hypocalcemia, and hyperbilirubinemia. Fetal insulin secretion is stimulated in the neonate of a mother with diabetes. However, when the infant is born and the umbilical cord is severed, the infant’s oversupply of glucose is abruptly terminated, causing severe hypoglycemia.

## Slide 14: Diabetic Profile Tests:
Group of tests that are used to diagnose diabetes and to measure the treatment response
These Tests include:
C-peptide, Differentiates between type I and type II.
Blood Glucose
  Fasting blood glucose (FBG)
  Post prandial glucose (PPG)
  OGGT= Oral glucose tolerance test
HbA1c = Glycosylated hemoglobin.
Ketones.
Microalbuminurea.
Insulin.
ICA = islet cell antibodies.

## Slide 15: Laboratory methods for the Diagnosis of Diabetes Mellitus
Three methods of diagnosis are suggested:
  symptoms of diabetes plus a random plasma glucose level of ≥ 200 mg/dL,
  (2) a fasting plasma glucose of ≥126 mg/dL,
  (3) an oral glucose tolerance test (OGTT) with a 2-hour post load (75-g glucose load) level ≥ 200 mg/dL, each of which must be confirmed on a subsequent day by any one of the three methods

## Slide 16: 1- Fasting blood sugar (FBG)
Definition: it measures blood glucose after fasting for at least 8 hours
Uses: to diagnose diabetes mellitus when Fasting blood glucose levels significantly elevated (>126mg/dl or > 7.77 mmol/l)
Conformation Tests:
Glucose Tolerance Test
Comprehensive history, physical examination and other tests
Should be done in other diseases that usually diagnosed with elevated plasma glucose levels, such as overactive thyroid gland and pancreatitis.

## Slide 17: 2- Two hour postprandial blood sugar (2-hour PPT)
Definition:
  It measures blood glucose exactly 2 hours after eating a meal.
Sample Preparation:
For a 2-hour postprandial test, the patient should eat a meal exactly 2 hours before the blood sample is taken.
A home blood sugar test is the most common way to check 2-hour postprandial blood sugar levels.
Results should not exceed 140 mg/ dl

## Slide 18: 3- Random blood sugar (RBS)
Definition:
  It measures blood glucose regardless of fasting.
Several random measurements may be taken throughout the day because glucose levels in healthy people do not vary widely throughout the day.
Sample preparation:
  No special preparation is required before having a random blood sugar test.
Results should be between 50- 170 mg/ dl

## Slide 19: Glucose Analysis

## Slide 20
1
1
4
3
2

## Slide 21
5
8
7
6

## Slide 23
Cerebrospinal fluid (CSF)
(CSF ) : is present within the subarachnoid space surrounding the brain in the skull and the spinal cord in the spinal column.
Total volumes:
– Adults: 140 - 170 mL
– Children: 10 - 60 mL.
function (CSF ) :
- is to protect the brain and the spinal cord from injury by acting as afluidcushion.
-It is the medium through which nutrients and the waste products are transported between brain/spinal cord and the blood.

## Slide 26
Glucose estimation in CSF
CSF glucose: is derived from blood glucose hence, ideally CSF glucose level should be compared with fasting plasma glucose level for adequate clinical interpretation.
Clinical Significance.
Abnormal:
CSF glucose less than 40 mg/dL or
CSF/plasma glucose less than 0.3 .
normal CSF/Plasma:
glucose ratio may very from 0.3 – 0.9.
Increased CSF glucose is of no clinical significance

## Slide 27
Causes of decreased CSF glucose
Meningitis-Bacterial, fungal tubercular and syphilitic meningitis.
Tumors involving the meninges.
Subarachnoid hemorrhage.
Cerebral ameobiasis.

## Slide 29: THANK YOU